NAGALAND ELECTRICITY REGULATORY COMMISSION

TARIFF ORDER

2x30 MW Thermal Power Plant at Tuli,

Nagaland

Dated: 20th February, 2020.

341 Upper Agri Colony, Kohima – 797001, Nagaland

E-mail: nerc_kohima@yahoo.com / Website: www.nerc.org.in

CONTENTS

- Introduction

- Nagaland Electricity Regulatory Commission ……………………………………………		3

- Admission of Petition & Publication ………………………………………………………..		3

- Notice for Public Hearing ……………………………………………………………………….		3

- Summary of technical & financial parameters ……………………………………………		5

- Prayer of Petitioner ………………………………………………………………………………..		6

- Public Hearing

- Public Hearing ………………………………………………………………………………………..		7

- Minutes of Public Hearing ………………………………………………………………………		7

- Project Cost

- Overview of the project ………………………………………………………………………….		10

- Summary of project finance …………………………………………………………………...		11

- Means of Finance ……………………………………………………………………………….		13

- Commission Analysis

- Capital cost of the project ………………………………………………………………….		13

- Debt Equity Ratio ……………………………………………………………………………….		17

- Annual Fixed Charges Analysis

- Operation and Maintenance Expenses ……………………………………………….		17

- Depreciation ………………………………………………………………………………………		17

- Interest on Loan Capital ……………………………………………………………………..		18

- Interest on Working Capital ………………………………………………………………..		18

- Return on Equity …………………………………………………………………………………		19

- Plant Load Factor, generation & Auxiliary Consumption ……………………………..		20

- Useful life of the project ……………………………………………………………………………..		20

- Fuel Cost ……………………………………………………………………………………………………..		20

- Tariff Design ……………………………………………………………………………………………….		22

- Approved Fixed & Variable Charges ……………………..…………………………….…….		24

- Directives …………………………………………………………………………………………………….		25

ABBREVIATIONS

| Abbreviation | Description |
| --- | --- |
| ARR | Aggregate Revenue Requirement |
| CD | Contract Demand |
| CERC | Central Electricity Regulatory Commission |
| CoS | Cost of Supply |
| Crs | Crores |
| CWIP | Capital Work In Progress |
| DE | Debt Equity |
| FAC | Fuel Adjustment Costs |
| FPPCA | Fuel Power Purchase Cost Adjustment |
| FY | Financial Year |
| GCV | Gross Calorific Value |
| GFA | Gross Fixed Assets |
| HT | High Tension |
| KV | Kilovolt |
| KVA | Kilo volt Amps |
| KW | Kilo Watt |
| kWh | kilo Watt hour |
| LT | Low Tension |
| MU | Million Units |
| MW | Mega Watt |
| MYT | Multi Year Tariff |
| NER | North Eastern Region |
| NERC | Nagaland Electricity Regulatory Commission |
| O&M | Operation & Maintenance |
| PLF | Plant Load Factor |
| PLR | Prime Lending Rate |
| R&M | Repairs and Maintenance |
| RoR | Rate of Return |
| Rs./ `. | Rupees |
| S/s | Sub Station |
| SBI | State Bank of India |
| YoY | Year on Year |

Before the

Nagaland Electricity Regulatory Commission (NERC)

Nagaland, Kohima

Petition No.: 02/2019

In the matter of

Determination of Generation Tariff for petition filed by M/s. Fitzroy Energy & Minerals, L.M Complex, 6th Floor, Room No. 13, Purana Bazar, Dimapur, Nagaland.	              Petitioner.

Present

Er. IMLIKUMZUK AO

Chairman-cum-Member,

NERC,Kohima.

ORDER

(Passed on 20th February, 2020)

- M/s. Fitzroy Energy and Minerals (herein after referred to as Project Developer), a registered company to conduct power generation business, proposes to set up an independent thermal power plant of 60 MW capacity for power generation in Tuli, Nagaland, from coal and bamboo procured locally.

- As per the Nagaland State Power Policy 2018, the State Government aims to develop Gas/Thermal generation in the State in a limited way as the State Power Demand is expected to touch 450 MW by 2021.

- The Project Developer, through the State Power Department, filed Petition before the Commission for determination of generation Tariff for the proposed 60 MW, vide letter No. PWR/MISC-10/17 dated 29th Jan, 2019.

- The proposed power project consists of two units of 30 MW each. Initially  Unit-I of the project will be developed & commissioned and will evacuate power through the existing 66kv substation at Tuli followed by Unit-II when the existing substation is upgraded to 132 kv substation with 132kv Transmission Line between Tuli and Mokokchung.

- The projected capital cost for development of the project is `.419.33 Crores and the proposed Tariff is @ `.5.65/Kwh (Fixed Charges @ `.2.38/kwh and variable charges @ `.3.27/kwh).

- The Commission, in the process of tariff determination, provided opportunity to all the Stakeholders & General Public for making  objections & suggestions if any, on the proposed tariff, and to ensure more transparency, Public Hearing was also conducted in this regard.

- $+21

- $ 16 "1

- $+211

- $+21

- $ 16 "1

- $+211

7. 	The Commission, upon following the procedure and in exercise of the powers vested under section 62(1) & (3) and Section 64 of the Electricity Act, 2003 read with the NERC’s MYT Regulations, 2016 (herein after referred to as MYT Regulations) and other enabling provisions in

this behalf, approved tariff @ `. 4.70/kWh (Fixed charges @  `.1.83/kWh and Variable charges @  `. 2.87/kWh) for both the Units subject to the following conditions:

- The tariff shall be reviewed/revised based on the capital expenditure actually incurred up to the date of commercial operation duly audited and certified by the statutory auditors in accordance with the MYT Regulations.

- Any escalation in the Tariff shall not be allowed beyond `.4.70/kwh unless on account of uncontrollable factors as prescribed under MYT Regulations.

- The tariff shall be determined for every financial year as per the MYT Regulations.

- Signing of Power Purchase Agreement (PPA) between the Project developer and the Licensee(s) is done.

- The Execution and Commissioning is completed within the period prescribed under clause 1.7 in the DPR.

Place : Kohima, Nagaland

Dated :

Sd/-

Er. IMLIKUMZUK AO

Chairman,

Nagaland Electricity Regulatory

Commission (NERC), Kohima.

- INTRODUCTION

## Nagaland Electricity Regulatory Commission.

In exercise of the powers conferred by the Electricity Act, 2003, the State Government of Nagaland constituted an Electricity Regulatory Commission to be known as “Nagaland Electricity Regulatory Commission” for the State of Nagaland, as notified on 21st February, 2008.

The Commission is a one-member body designated to function as an autonomous authority empowered to regulate the power sector in the State of Nagaland. The powers and the functions of the Commission are as prescribed in the Electricity Act, 2003. The head office of the Commission is presently located at Kohima, Nagaland.

The Nagaland Electricity Regulatory Commission started to function with effect from 4thMarch, 2008 with the objectives and purposes for which the Commission has been established.

  - Admission of Petition and Publication.

The Project Developer has filed Petition before the Commission for determination of tariff for supply of electricity from the proposed 2X30 MW Thermal Project to be set up at Tuli. On preliminary analysis of the petition, it was observed that certain data/information was lacking/reguired as per MYT Regulations. The Commission, in its letter and e-mail directed the Petitioner to furnish the data. After receiving the required additional Informations/clarification, the Petition was admitted on 20th February, 2019.

In order to provide opportunity to all stakeholders and general public for making suggestions/objections on the Tariff Petition, the  Commission  directed  the  petitioner  to  publish  the  summary  of  the  petition in  an  abridged  form  and  manner  as  approved  in  accordance with section 64 of the Electricity Act, 2003.

Accordingly, the public notice was published on 27th October, 2019 in 4 (four) leading daily local newspapers inviting  the stakeholders/public to submit their objections and suggestions, if any, to the Secretary NERC on or before 21st November, 2019.

| Sl. No. | Name of the Newspaper | Language | Date of Publication |
| --- | --- | --- | --- |
| 1. | Nagaland Post | English | 27.10.2019 |
| 2. | The Morung Express | English | 27.10.2019 |
| 3. | Eastern Mirror | English | 27.10.2019 |
| 4. | Tir Yimyim | Vernicular (Ao) | 27.10.2019 |

No written objection was received by the Commission on the said petition till the last date of submission.

## Notice for Public Hearing:

In order to ensure more transparency in the process of Tariff Determination, the Commission published a Public Notice in the following leading local english Newspapers for Public Hearing to be held on 29th November, 2019 in the Conferenace Hall of the Engineer-in-Chief, Department of Power, Nagaland.

| Sl. No. | Name of the Newspaper | Language | Date of Publication |
| --- | --- | --- | --- |
| 1. | Nagaland Post | English | 20-11-2019 |
| 2. | The Morung Express | English | 20-11-2019 |
| 3. | Eastern Mirror | English | 20-11-2019 |

Thereafter, Public Hearing was held as scheduled on 29th November, 2019 at the Conference Hall of the Engineer-in-Chief, Department of Power, Nagaland where the Officers of the Power Department & the Project Developer were present. The details proceedings of the public hearing are given in Chapter – 3.

# SUMMARY OF TECHNICAL & FINANCIAL PARAMETERS.

## Technical & Financial Parameters as projected in the DPR:

| Particulars | Parameters |
| --- | --- |
| Generation capacity: |  |  |
| Generation capacity (MW) | 60 | MW |
| Installed Capacity (MW) | 60 | MW |
| No of Days Working | 365 | days |
| No of Hours | 24 | hours |
| PLF (Ist Year) | 93.0% |  |
| PLF (2nd Year) | 93.0% |  |
| Gross Power Generated (MU) | 537.69 | MU |
| Auxiliary consumption % | 9.00% |  |
| Transmission losses % | 2.00% |  |
| Net Power Generation | 479.51 | MU |
| Project Cost Details: |  |  |
| Project Cost | 419.33 | Rs.Crs |
| Debt | 75.00% |  |
| Equity | 25.00% |  |
| Debt | 314.50 | Rs.Crs |
| Equity | 104.83 | Rs.Crs |
| Debt Equity | 3.00 |  |
| Cost Per MW | 6.35 | Rs/MW |
| Tariff (Net off Minimum Demand) | 5.65 | Rs/kWh |
| Coal Details |  |  |
| Effective Calorific Value | 6500.00 | Kcal/kg |
| Effective Cost | 6000.00 | Rs/Ton |
| Fuel Required | 0.44 | Kg/KWh |
| Bamboo Details |  |  |
| Gross calorific Value | 4500.00 | Kcal/kg |
| Landed cost at Site | 6000.00 | Rs/Ton |
| Term Loan |  |  |
| Interest on Working capital | 13.00% |  |
| Interest on Term loan | 13.00% |  |
| Tax rates: |  |  |
| MAT | 20.00% |  |
| Corporate | 30.00% |  |
| Depreciation Rates SLM |  |  |
| Civil works | 3.34% |  |
| Plant & Machinery | 5.28% |  |
| Miscellaneous Fixed Assets | 5.28% |  |
| Depreciation Rates WDV |  |  |
| Civil Works | 10.00% |  |
| Plant & Machinery | 15.00% |  |
| Miscellaneous Fixed Assets | 10.00% |  |
| Performance |  |  |
| Boiler efficiency | 85.0% |  |
| Turbine heat rate | 2404.0 | kcal/kwh |
| Gross/Plant heat rate | 2828.2 | kcal/kwh |
| Fuel data |  |  |
| Quantity of secondary fuel | 0.005 | ml/kwh |
| Cost of secondary fuel | 50 | Rs/litre |
| Cost of water | 10 | Rs/m3 |
| O&M Cost at average ff 36ps/kWh | 0.29 | Crores/MW |
| Make-up water | 120888 | m3 /annum |
| Escalations: |  |  |
| On fuel price | 2% |  |
| On tariff |  |  |
| On O&M cost | 2% |  |
| On Secondary Fuel Charges | 2% |  |
| Working Capital Assumptions | Holding Period |  |
| Fuel Cost | 60 | Days |
| O&M Cost | 30 | Days |
| Receivables | 30 | Days |
| Spares | 36 | Days |
| Creditors | 60 | Days |

## Prayers of petitioner:

The petitioner has prayed in its petition for the following:

- To admit and approve the Petition.

- To approve the projected capital cost of the project.

- To approve the tariff submitted.

- Condone any inadvertent delay/omissions/errors/rounding off differences/shortcoming and may please be permitted to add/change/modify/alter the petition.

- Permit petitioner to file additional data/information as may be necessary.

- Pass such orders as the Commission may deem fit and proper, keeping in view the facts and circumstances of the case.

# PUBLIC HEARING

## Public Hearing:

In order to ensure transparency in the process of determination of tariff as envisages in the Electricity Act, 2003, public hearing was held at Kohima on 29th November, 2019 as scheduled.

During public hearing the participants were given adequete opportunity to offer their views and comments to the Petition filed by the petitioner.

3.2 	Minutes of the Public Hearing:

Before the public hearing commenced, a power point presentation on the proposed 2x30 MW thermal project was given by the Project Developer, followed by queries and replies as below:

Summary on PPT:

- The firm proposes to set up an independent thermal power plant of 2x30 MW capacity to generate power at Tuli, Nagaland.

- The proposed gross energy generation from the plant is 537.69 MU/year.

- The project is designed to operate with 90:10 ratio coal & bamboo from the second year onwards with Zero waste water discharge from the plant.

- The proposed generation tariff @ `.5.65/kWh (fixed cost is `.2.38/kWh and variable cost is `.3.27/kWh).

- Evacuation of power generated from the proposed 2x30 MW thermal project will be through the existing 66kv Tuli Sub-station.

- Generation of Job opportunities and increase in local economy due to demand of coal & bamboo.

- Query by Department of Power, Nagaland (DPN) on SO2 emmission:

The local coal contains high amount of sulphur (2.5-4%) which leads to Acid rain causing environmental hazard. What are the preventive measures that will be initiated by the firm to control such environment hazard?

Reply by Firm:

Even though the sulphur content is high, it will be mitigated with dosing of Limestone found in the same region. As sulphur capture is good in a CFBC boiler, SO2 (sulphur dioxide) level lower than 400mg/Nm3 can be achieved which is much below the national average of SO2 level.

From the second year of operation, 10% bamboo and 90 % coal will be fired. However, the percentage of bamboo firing will be progressively increased each year and 100% bamboo firing will be adopted from the 11th year of operation thereby creating an eco-friendly power plant in the State.

2. 	Query by DPN on Environmental Clearance:

Whether the Firm has obtained the required environmental approval/clearance from the concerned State authorities for the proposed plant?

Reply by Firm:

The NOCs from the relevant authorities are under process.

3. 	Query by Member on Evacuation of Generated Power:

Whether the existing 66kv transmission line at Tuli will be able to evacuate the entire energy generated from the proposed 60 MW Thermal Plant?

Reply by DPN:

The existing 66kv transmission line at Tuli will not be able to evacuate the entire power of 60 MW Thermal Plant.

Comment by the Firm:

The firm clarified that initially Unit-I (30 MW) of the project will be developed/commissioned to enable evacuation of power through the existing 66kv substation at Tuli. Thereafter, the Unit-II (30MW) of the project will be developed when the existing 66 kv substation is upgraded to 132 kv substation.

Reply by DPN:

The evacuation of power from the proposed unit-I (30MW) is possible through the existing 66kv substation at Tuli.

4. 	Query by Member on Connectivity cost:

Whether the Firm intends to bear the connectivity cost at Tuli substation for power evacuation?

Reply by Firm:

The required connectivity cost at 66kv Tuli Substation will be borne by the firm as also deployment of technical personnel to assist in the said substation.

5. 	Comments by DPN on Power Purchase Agreement (PPA):

The projected Tariff @ `.5.65/kwh is higher than the market rate and as such, the Department may not be able to sign the PPA unless it is reduced to a reasonable rate since power has to be sold to the consumer at an affordable rate.

6. 	Comments of the Commission:

The public hearing is a part of the process for determination of Tariff. The Commission will determine the tariff by taking into consideration all the issues raised during the public hearing. It will also examine the benefits of power purchase from within and outside (CGS & Power Market) the state as the Inter-State Transmission Losses & Charges are accounted towards power purchase cost if purcurred from the outside whereas, it will not be applicable in case of power purchase from within the state .

The members present in the Public Hearing:

- Er. Imlikumzuk Ao, Chairman(NERC),

- Er. Shikato Sema, Engineer-in-Chief, Department of Power, Nagaland.

- Er. Indianoba Tally, Chief Engineer (D&R), Department of Power, Nagaland.

- Er. Penrithung Yanthan, S.E (Rev), Department of Power, Nagaland.

- Er. A. Chakrapani, CEO, Enmas EPC Power Projects Ltd, Kolkata.

- Mr. Neeraj Padhi, Chairman, Fitzroy Energy & Minerals Ltd, Dimapur.

- Mr. Temjenmoa Jamir, Vice Chairman, Fitzroy Energy & Minerals Ltd, Dimapur.

- Prof. Dr. Lady Anita Singh Matharu, CEO & Managing Director, IPCC India.

- Mr. B. Phom, Fitzroy Energy & Minerals Ltd, Dimapur.

- Mr. W.Y. Yanthan, Secretary (NERC),

- Mr. Limawapang Longkumer, Legal Consultant, NERC.

- Er. Hekavi N Ayemi, Asst. Engineer (Tariff), NERC.

- Mr. Shivito Wotsa, Accounts Officer (NERC).

# PROJECT COST

# 4.1	Over View of the Project:

PROPOSED PROJECT:

The proposed power project will have a capacity of 2x30 MW (Net) and is scheduled for commissioning in 24 months for Unit-1 and 27 months for Unit-2 from the date of issue of Notice-to-proceed by the owner to the EPC Contractor.

LOCATION:

The proposed project is to be set up within the boundary limits of the Site location near Wamaken Village, Tuli, Nagaland. The site is located at a distance of approximately 3.2 km from highway NH61.

PROJECT COST:

The estimated Project Cost inclusive of interest during construction is estimated at `. 410 Crores.

PROJECT IMPLEMENTATION:

Coal required for the power plant will be brought from the pit head at a distance of 11 kilometres from the project site & moved by trucks to the power plant site. The annual coal consumption for the 60 MW (Net) power plant at 93% PLF during the ﬁrst year of operation (100% coal ﬁring) is estimated at 230,000 tonnes based on the use of Nagaland coal with average GCV of 6700 Kcal/Kg. In view of the relatively small quantity of coal required and the short distance from the coal supply point, it is proposed to transport the coal from the pit head to the site through trucks.

Bamboo required for the power plant will be brought to the site by trucks. The annual bamboo consumption for the 60 MW (Net) power plant at 93% PLF during the eleventh year of operation (100% bamboo ﬁring) is estimated at 340,000 tonnes based on the use of bamboo with average GCV of 4500 Kcal/Kg.

Since the power plant is being provided with an air-cooled condenser system, the average consumptive water requirement of the power plant is estimated at only 40 m3/hr which can be met from the ground water allocation to be obtained for the power plant.

The total annual ash generation from the power plant is estimated at 13,500 tonnes based on the use of Nagaland coal. The ﬂy ash will be sent to cement manufacturers for use in cement manufacture and the bed ash will be disposed oﬀ as land ﬁll.

POWER EVACUATION:

Power from the generator terminals will be connected to a 132 kV switchyard in the plant premises through step-up transformers. The power available for export to the grid will be 60 MW after accounting for power consumption for the power plant auxiliaries as well as transmission losses.

Considering an annual Plant Load Factor of 93% and net available power of 60 MW, the energy available for export at the power plant switchyard will be about 479 million units (kWh) per annum.

  - Summary of the Project financial:

4.2.1 	The power plant project is proposed to be executed on EPC (Engineering, Procurement and Construction) basis through M/s. Resurgent Power Projects Limited (RPPL), Chennai.

This total capital cost includes the cost of land, EPC Cost and the preliminary and the development expenses of the plant. The EPC cost shall essentially include design, engineering, supply procurement and transport, construction, assembly and testing of equipment and materials to site.

The petitioner submitted a capital cost of `.410 crores in the DPR. However, the detailed calcualtion of Cost & Tariff were not part of the DPR and the same was asked vide deficiency notes. The petitioner submitted cost & tariff calculation in excel. The capital cost as per the details submitted subsequently was at `.419.33 crores.

The Table  below presents   summary of   capital cost of the 2x30 MW Thermal Power Plant at Tuli, Nagaland submitted by the petitioner.

Summery of the Capital Cost showing the Item and component wise

| Particulars | Amount (`. Cr.) |
| --- | --- |
| Steam Generator island (2 Nos) | 243.8 |
| Turbo-Generator island (2 Nos) |  |
| ACC (2 Nos) |  |
| BTG | 243.8 |
| BOP Mechanical |  |
| ACT & ACW System |  |
| Plant Water System (DM Plant, Pre-treatment Plant) |  |
| EOT Cranes |  |
| Fuel oil & Storage system |  |
| Ash Handling System |  |
| Coal Handling Plant |  |
| Air Compressor System |  |
| Air Condition & Ventilation System |  |
| Fire fighting system |  |
| LP piping and miscellaneous equipment |  |
| Misc. cranes |  |
| Sub-total of BOP Mechanical - |  |
| Electrical equipments |  |
| Switchyard Package |  |
| Other Electrical Packages |  |
| Transformers Package |  |
| Generator Associated items - GRP, UCP, BOP control panels |  |
| Busducts (IPB, SPB & NSPB) |  |
| Switchgear package (HV, LV) DC,UPS, NGR and DG sets |  |
| Cables, Cable facilities, Illumination, Elevators, Communication, Grounding & Lightning protection, Lab equipments |  |
| Sub-total of Electrical Equipment |  |
| Control & Instrumentation Package |  |
| TOTAL of BOP | 0.0 |
| Total Plant & Equipment | 243.8 |
| Erection, testing and commissioning | 20.0 |
| Transport, Insurance, Taxes and Duties | 8.0 |
| GST | 35.1 |
| Inland Freight, Clearance charges, Departmental charges & Forwarding included in Plant material cost | 0.0 |
| GST on E&C | 2.9 |
| Cess | 1.1 |
| Sub-Total | 47.1 |
| PLANT & MACHINERY TOTAL | 310.9 |
| Civil and Structural Works (for 2 x 150 MW) |  |
| Main plant Building |  |
| CW System |  |
| Cooling Towers |  |
| DM Water Plant |  |
| Clarification Plant |  |
| Chlorination Plant |  |
| Misc. Plant Civils &bldgs) (coal shed, Water treatment Bldg, MCCs, ACC Structure etc) |  |
| Admin. Building |  |
| Fuel Oil Handling and Storage System |  |
| Coal Handling Plant |  |
| Ash Handling System |  |
| Ash Disposal area development |  |
| Fire Fighting System |  |
| Temp construction and enabling works |  |
| Road and Drainage |  |
| Chimney |  |
| Civil Sub Total | 40.00 |
| Taxes and Duties |  |
| Works contract tax on Civil works @5% | 2.00 |
| GST on 30% of supplies | 2.16 |
| CIVIL TOTAL | 44.2 |
| TOTAL WORKS COST | 355.11 |
| PLANT Cost - EPC Contractor Final Delivered Cost | 355.11 |
| Non PLANT works | 4.0 |
| Any transmission interface works | 2.00 |
| Consumables | 2.00 |
| Project cost w.o. IDC&WC | 359.11 |
| Interest During Construction (IDC) | 49.06 |
| Working capital Margin (WCM) | 11.16 |
| Capital cost including IDC & WCM | 419.33 |

    - Means of Finance – Petitioner submission:

The total estimated project cost is `. 419.33 Crore. The project cost is expected to be funded by Equity and Long Term Debt. The means of Finance submitted by the petitioner are summarized in the Table below.

| Particulars | % | `. in Crore |
| --- | --- | --- |
| Debt | 75% | 314.50 |
| Equity | 25% | 104.83 |
| Total Project Cost | 100% | 419.33 |

  - Commission’s Analysis:

4.3.1. 	The project cost of 2x30 MW Thermal  Power Plant submitted by the petitioner is `.419.33 Crores. Therefore, the per MW cost comes to Rs 6.99 Crores.

    - Capital Cost of the Project:

As per the Regulation 23 of NERC MYT Regulations, the capital cost of the thermal power station is to be determined based on the prudence check of actual capital expenditure incurred. The petitioner has filed the petition for determination of capital cost & tariff based on the DPR & estimates, and the actual construction of the project is yet to be commenced. Hence, actual cost is not available to the Commission for conducting the prudence check and deciding the capital cost.

However, as per the Regulation 36.4 & 36.5 of NERC MYT Regulations, the Commission is approving the capital cost as detailed below and the petitioner is directed to submit petition for determination of final tariff based on the actual capital cost duly audited by the statutory auditors. The Commission shall conduct the prudence check and approve the final cost & tariff.

Accordingly, the commission shall revisit the capital cost after completion of the project and the capital cost may be reduced based on the prudence check of the actual capital expenditure. No escalation in the capital cost approved herewith shall be allowed except on account of uncontrollable factor as prescribed under MYT Regulations. The petitioner shall ensure implementation of the project within the proposed schedule and cost.

The Assumptions, technical & financial paramteres projected by the project developer which was considered by the Commission for determining the capital cost & tariff is provided in the Table below:

| Technical & Financial Parameters |
| --- |
| Generation capacity: |  |  |
| Generation capacity (MW) | 60 | MW |
| Installed Capacity (MW) | 60 | MW |
| No of Days Working | 365 | days |
| No of Hours | 24 | hours |
| PLF (Ist Year) | 93.0% |  |
| PLF (2nd Year) | 93.0% |  |
| Gross Power Generated(MU) | 488.81 | MU |
| Auxiliary consumption % | 9.00% |  |
| Net Power Generation | 444.82 | MU |
| Project Cost Details: |  |  |
| Project Cost | 396.79 | Rs.Crs |
| Debt | 75.00% |  |
| Equity | 25.00% |  |
| Debt | 298 | Rs.Crs |
| Equity | 99 | Rs.Crs |
| Debt Equity | 3.00 |  |
| Cost Per MW | 6.61 | Rs/MW |
| Coal Details |  |  |
| Effective Calorific Value | 6500.0 | Kcal/kg |
| Effective Cost | 6000.0 | Rs/Ton |
| Fuel Required | 0.44 | Kg/KWh |
| Term Loan |  |  |
| Interest on Working capital | 11.50% | MCLR+3% |
| Interest on Term loan | 10.50% | MCLR+2% |
| Tax rates: |  |  |
| MAT | 15.60% |  |
| Depreciation Rates SLM |  |  |
| Civil Works | 3.34% |  |
| Plant & Machinery | 5.28% |  |
| Miscellaneous Fixed Assets | 5.28% |  |
| Performance |  |  |
| Boiler efficiency | 85.0% |  |
| Turbine heat rate | 2404.0 | kcal/kwh |
| Gross/Plant heat rate | 2828.2 | kcal/kwh |
| Fuel data |  |  |
| Quantity of secondary fuel | 0.005 | ml/kwh |
| Cost of secondary fuel | 50 | Rs/litre |
| Cost of water | 10 | Rs/m3 |
| O&M Cost at average ff 36ps/kWh | 0.29 | Crores/MW |
| Make-up water | 120888 | m3 /annum |
| Working Capital Assumptions | Holding Period |  |
| Fuel Cost | 60 | Days |
| O&M Cost | 30 | Days |
| Receivables | 30 | Days |
| Spares | 36 | Days |
| Creditors | 60 | Days |

Based on the above assumptions & parameters, the capital cost approved by the Commission in respect of the 2x30 MW Thermal Power Project at Tuli, Nagaland is provided in the table below:

Main Plant

| Particulars | Amount ( Rs. Cr) |
| --- | --- |
| Steam Generator island (2 Nos) | 87.8 |
| Turbo-Generator island (2 Nos) including steam piping | 51 |
| Air cooled condenser (2 Nos) including condensate piping and condensate storage systems | 26.6 |

AUXILIARY PLANT AND EQUIPMENT:

| Particulars | Amount( Rs. Cr) |
| --- | --- |
| Mechanical Scope |  |
| Auxiliary Cooling Tower & Auxiliary Cooling Water System | 1.48 |
| Plant Water System (DM Plant, Pre-treatment Plant) | 3.71 |
| EOT Cranes | 0.78 |
| Fuel oil & Storage system - in boiler package | 0 |
| Ash Handling System | 5.72 |
| Coal Handling Plant | 9.89 |
| Air Compressor System | 0.89 |
| Air Condition & Ventilation System | 1.67 |
| Firefighting system | 2.09 |
| LP piping and miscellaneous equipment (in piping package) |  |
| Misc. cranes (in EOT package) |  |
| Electrical equipment |  |
| Switchyard Package including transmission line | 5.66 |
| Other Electrical Packages |  |
| Transformers Package | 5.06 |
| Generator Associated items - GRP, UCP, BOP control panels | 2.28 |
| Bus ducts | 2.79 |
| Switchgear package (HV, LV) DC, UPS, NGR and DG sets | 7.05 |
| Cables, Cable facilities, Illumination, Elevators, Communication, Grounding & Lightning protection, Lab equipment | 7.35 |

| Particulars | Amount( Rs. Cr) |
| --- | --- |
| Control & Instrumentation Package | 6.32 |

| Particulars | Amount( Rs. Cr) |
| --- | --- |
| Erection, testing and commissioning | 31.4 |
| Transport, Insurance, Taxes and Duties | 6.6 |
| GST on Plant & machinery including E&C/transport | 47.898 |

CIVIL WORKS:

| Particulars | Amount( Rs. Cr) |
| --- | --- |
| Civil works cost | 35 |
| Taxes and Duties |  |
| GST at 18% | 6.3 |
| CIVIL TOTAL | 41.30 |

Non- Plant Works:

| Particulars | Amount( Rs. Cr) |
| --- | --- |
| Non-plant works | 4.00 |
| Any transmission interface works | 2.00 |
| Consumables | 2.00 |

Interest During Construction:

| Particulars | Amount( Rs. Cr) |
| --- | --- |
| Project cost w.o. IDC | 359.30 |
| Interest During Construction (IDC) | 37.50 |
| Capital cost including IDC | 396.79 |

Summary of approved Capital Cost:

| Particulars | Amount ( Rs. Cr) |
| --- | --- |
| PLANT & MACHINERY | 314.00 |
| CIVIL TOTAL | 41.30 |
| Non PLANT works | 4.00 |
| Interest During Construction (IDC) | 37.50 |
| Capital cost including IDC | 396.79 |

The petitioner is directed to submit the schedule of implementation of project and expected date of COD. Further, the petitioner is directed to submit physical & financial progress of the project in a  quarterly manner.

    - Debt Equity Ratio:

The petitioner has submitted a Debt-Equity ratio of 75:25 and has been considered as per Regulation 22 of the MYT  Regulations for the purpose of calculating Interest on loan & Return on Equity. Therefore, the approved Debt & Equity is as below:

| Particulars | % | INR Crore |
| --- | --- | --- |
| Debt | 75% | 297.60 |
| Equity | 25% | 99.20 |
| Total Project Cost | 100% | 396.79 |

  - Annual Fixed Charges (AFC) Analysis:

As per the Regulation 37 of MYT Regulations  the components of AFC and various paramteres has been analysed as below.

    - Operation & Maintenance (O&M) Expenses:

As per the Regulation 35, 48 & 48.3 of MYT Regulations, the O&M expenses is approved at `.28.5 Lakhs/MW. Hence, O&M expenses for the project for the 1st year of commercial operation is approved at `.17.10 crores.

    - Depreciation:

As per the Regulation 28 of MYT Regulations, the Depreciation has been considered based on the approved capital cost as below:

| Details | Cost | Pre-op & IDC | Total Cost | Rate of Depn.% | Depreciation |
| --- | --- | --- | --- | --- | --- |
| Land & Site Development | 0.00 | 0.00 | 0.00 | 0% | 0.00 |
| Building & Civil works | 41.30 | 4.31 | 45.61 | 3.34% | 2.00 |
| Plant and Machinery | 314.00 | 32.77 | 346.77 | 5.28% | 18.31 |
| Miscellaneous Fixed Assets | 4.00 | 0.42 | 4.42 | 5.28% | 0.23 |
| TOTAL | 359.30 | 37.50 | 396.79 |  | 20.54 |

The depreciation for 1st year of commercial operation is approved at `.20.54 crores.

    - Interest on Loan Capital:

The petitioner has submitted the rate of interest on loan capital at 13% and the proposed tenure of the loan is 10 years.

Regulations 27 of the MYT Regulations provides that the rate of interest shall be the weighted average rate of interest calculated on the basis of the actual loan portfolio.  The  petitioner has not submitted any loan agreement or committement letter from any bank/financial institution neither any justification/ basis for considering interest rate of 13% .

In absence of actual actual interest rates, the commission has considered interest rate of two hundred (200) basis points above the average State Bank of India Marginal Cost of Funds based Lending Rate (MCLR) (one year tenor) prevalent during the last available six months shall be considered.

The average State Bank of India MCLR (One Year Tenor) is 8.5%, accordingly interest on loan  has been considered at 10.5% i.e 8.5% +2%.

The petitioner is directed to submit the actual loan agreement/sanction letter to justify its claim of higher interest rate.

The loan component for calculating the interest on loan has been considered on the basis of capital cost as approved earlier in para 4.3.2 & Debt-Equity ratio approved in para 4.3.3 above.

Hence, the interest on loan for the 1st year of commercial operation is approved at `.24.41 crores.

    - Interest on Working Capital:

As per the Regulation 29 of MYT Regulations provides for the calculation of Interest on working capital. The regulation further provides that the Interest on working capital shall be allowed at a rate equal to the State Bank Advance Rate (SBAR) as on 1st April of the financial year in which the Petition is filed.

The petitioner has projected interest rate on working capital at 13% and has submitted that it would be difficult to get working capital loan at the normative  rate provided in the Regulations and has requested to consider the rate of 13% as projected in the petition. However, the petitioner has not provided any loan agreements/communication from any bank/financial institution in this regard.

In view of the above, Commission has considered Interest on Working Capital equivalent to the normative interest rate of three hundred (300) basis points above the average State Bank of India MCLR (One Year Tenor) prevalent during the last available six months for the determination of tariff.   The petitioner is directed to submit the actual loan agreement/sanction letter to justify its claim of higher interest rate than that provided by the Regulations. In case the petitioner is not able to substantiate the same, the interest  shall be reworked at the the State Bank Advance Rate (SBAR) as provided in the Regulation.

The average State Bank of India MCLR (One Year Tenor) is  8.5%, accordingly interest on working capital  has been considered at 11.5% i.e 8.5% +3%. The computation of interest on working capital is provided below:

| Particulars | Stocking Period | Amount ( Rs. Crs) |
| --- | --- | --- |
|  | (Days) | 365 |
| Current Assets |  |  |
| 1. Fuel cost | 60 | 20.98 |
| 2. O&M Expenses | 30 | 1.41 |
| 3. Receivables | 30 | 20.66 |
| 4.Spares Inventory | 36 | 0.14 |
| 5. Margin on LC – 25% |  | 10.33 |
| Total Current Assets |  | 53.51 |
| Less: Sundry Creditors | 60 | 41.31 |
| Net Current Assets |  | 12.19 |
| Less: Bank Borrowings |  | 9.14 |
| Margin for Working Capital |  | 3.05 |
| Interest | 11.50% | 1.05 |

The Interest on working capital for the 1st year of commercial operation is approved as `.1.05 cr.

    - Return on Equity:

Regulation 22, 26 & 30 of MYT Regulations provides that  if the equity employed is less than 30%, the actual equity shall be considered. The petitioner has submitted a Debt-Equity ratio of 75:25. In view of the above, the the Equity has been considered at 25% of capital cost for the purpose of calculating Return on Equity. The Equity  component has been arrived at on the basis of capital cost as approved earlier in para 4.3.2 above.

Further, in terms of the Regulation 26, Return on Equity shall be allowed on the amount of allowed equity capital for the assets put to use. Accordingly, if the project is implemented phase wise, the ROE shall also be allowed proportionately based on the actual COD & corresponding capital cost of the respective units.

Regulation 30 of MYT Regulations provides for reimbursement of the Income Tax based on the actual income tax paid as per latest Audited Accounts available for the applicant. However, since, the project is still to be commissioned, actual income tax details are not available. Hence, the Income tax has been considered at Minimum Alternative Tax Rate (MAT) applicable for the FY 2019-20. The MAT for the FY 2019-20 is 15.60%. The ROE rate of 15.50% has been grossed up by the MAT rate to arrive at the allowable ROE. The grossed up ROE is 18.36%.  The MAT allowed along with the return on Equity is provisional and the same shall be Trued-up based on the actual Tax paid. The Variation between Income Tax actually paid and approved, if any, shall be reimbursed to/recovered from the petitioner at the time of truing up of each year.

The Return on Equity arrived as per the above provisions is provided in the table below:

Return on Equity

| Particulars | Amount ( Rs. Crore) |
| --- | --- |
| Capital Cost | 396.79 |
| Equity% | 25.00% |
| Equity | 99.20 |
| ROE % ( Inclusive of MAT of 15.60%) | 18.36% |
| ROE | 18.22 |

The Return on Equity approved for the 1st year of commercial operation is `.18.22 crores.

- Plant Load Factor, Generation & Auxiliary consumption:

- The petitioner has submitted Plant Load Factor of 93% from the 1st year of commercial operation for calculation of generation units & estimating the fuel cost.

- Considering the PLF of 93%, projected gross energy generation per annum is 488.81 MUs.

The petitioner has proposed auxiliary consumption at 9%. Regulation 47(iv) provides for auxiliary consumption norm of 8.5% for 200 MW series, but the capacity of the power plant is only  60 MW, hence, proposed auxiliary consumption of 9%  is considered reasonable and approved accordingly.

- Net Generation: Considering the gross generation of 488.81 MUs per annum and Auxiliary consumption of 9%, the net generation per annum is calculated at 444.82 MUs.

The commission approves the PLF at 93%, Gross generation of 488.81 MUs per annum, Auxiliary consumption of 9% & Net generation of 444.82 MUs per annum as projected by the petitioner.

- Useful Life of the Project:

Regulation 2.58 of MYT Regulations, provides that the useful life of the Coal based thermal generating station shall be 25 years. The commission accordingly, approves the useful life of the generating station as 25 years.

- Fuel Cost:

Petitioner submission:

Nagaland Coal transported by road from nearby mines and/or other Indian Coal and bamboo has been considered as the main fuel.

However, the ﬁnancial analysis has been based on Nagaland Coal and bamboo. Cost of Nagaland Coal (GCV of 6700 kcal/kg) including freight, taxes and duties as delivered to the power plant site for the ﬁrst year of operation has been considered as `.6,000/- per tonne.

Cost of Bamboo (GCV of 4500 kcal/kg) including freight, taxes and duties as delivered to the power plant site has been considered as `.6,000/- per tone.

Coal required for the power plant is linked to the government supplied coal from the pit head thereby reducing the cost of transportation and making power generation viable. Bamboo, which is proposed to be ﬁred from the second year of operation onwards, will be procured locally. Initially, in the second year of operation, 10% bamboo and 90% coal (percentages based on heat input) will be ﬁred. The percentage of bamboo ﬁring will be progressively increased each year and 100% bamboo ﬁring will be adopted from the 11 (eleventh) year of operation onwards.

Commission’s Analysis

The parameters submitted for calculation of fuel cost is as below:

| Particulars | Value |
| --- | --- |
| Calorific Value - Coal | 6500 | kcal/Kg |
| Calorific Value - Bamboo | 4500 | kcal/Kg |
| Cost of Coal | 6000.0 | Rs/Ton |
| Cost of Bamboo | 6000.0 | Rs/Ton |
| Boiler efficiency | 85.0% |  |
| Turbine heat rate | 2404.0 | kcal/kwh |
| Gross/Plant heat rate | 2828.2 | kcal/kwh |
| Coal Requirement | 0.44 | Kg/kwh |

Fuel cost  has been calculated based on the above parameters. Further, the use of coal is proposed to be reduced by 10% every year with  corresponding increase in the use of Bamboo. Therefore, the use of coal is proposed to be discontinued after 10 years and entire generation is proposed to be fueled by Bamboo. The feasibility and availability of sufficient bamboos as fuel to sustain the continuous generation is required to be examined & substantiated. Hence, the petitioner is directed to submit detailed report on the proposal for switching from coal to bamboo. The estimated per unit fuel cost calculated based on the above parameters for the period of 11 years from the COD is provided in the table below. Further, secondary fuel & water charges  is proposed at Rs.0.12 crore for the 1st year of operation.

Fuel Cost per unit

| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Coal consumed kg/kWh | 0.44 | 0.39 | 0.35 | 0.30 | 0.26 | 0.22 | 0.17 | 0.13 | 0.09 | 0.04 | 0.00 |
| Biomass consumed kg/kWh | 0.00 | 0.06 | 0.13 | 0.19 | 0.26 | 0.32 | 0.39 | 0.45 | 0.52 | 0.58 | 0.65 |
| Coal Cost Rs per ton | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 |
| Biomass Rs per ton | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 |
| Fuel Cost Rs/kWh | 2.61 | 2.74 | 2.87 | 2.99 | 3.12 | 3.25 | 3.38 | 3.50 | 3.63 | 3.76 | 3.89 |

Further, no Fuel Supply Agreement has been submitted by the petitioner in support of the fuel availability and proposed cost. The commission is approving the fuel cost based on the above paramteres, however, the petitioner is directed to ensure reliable supply of fuel through FSA and submit the same to the Commission at earliest.

The per unit primary fuel cost of generation is approved for the 1st year of  Commercial operation is `.2.61 per kWh. Considering the proposed generation of 488.81 MUs, the primary Fuel cost for the 1st year of commercial operation is approved at `.127.61 crores. Further,  secondary fuel cost & water charges is approved at Rs. 0.12 crores for the 1st year of commercial operation. The total fuel cost is `.127.73 crores. The net energy available for sale is 444.82 MUs (gross generation – auxiliary consumption). Hence, fuel cost per unit of energy supplied is `.2.87/Kwh.

- Tariff Design:

Regulation 50 of MYT Regulations provides for the Computation and payment of capacity charge and energy charge for thermal generation stations. The provisions of the Regulation is provided below:

      - “Annual Fixed Charges

“The total Annual Fixed Charges shall be computed based on the norms specified under these Regulations and recovered on monthly basis under capacity charge. The total capacity charge payable for a generating station shall be shared by its beneficiaries as per their respective percentage share / allocation in the capacity of the generating station.

The capacity charge (inclusive of incentive) payable to a thermal generating station for a calendar month shall be calculated in accordance with the following formulae:

        - Generating stations in commercial operation for less than ten (10) years on 1st April of the financial year:

AFC x (NDM/NDY) x (0.5 + 0.5 x PAFM/NAPAF) (in Rupees);

Provided further that in case the plant availability factor achieved during a financial year (PAFY) is less than 70%, the total capacity charge for the year shall be:

AFC x (0.5 + 35/NAPAF) x (PAFY/70) (in Rupees).

The PAFM and PAFY shall be computed in accordance with the following formula:

N PAFM or PAFY = 10000 x / {N x IC x (100 - AUX)} %

Where,

AUX = Normative auxiliary energy consumption in percentage;

DCi = Average declared capacity (in ex-bus MW), subject to Regulation 50.4 below, for the ith day of the period, i.e., the month or the year as the case may be, as certified by the concerned load dispatch centre after the day is over;

IC = Installed Capacity (in MW) of the generating station;

N = Number of days during the period i.e. the month or the year as the case may be.

Note: DCi and IC shall exclude the capacity of generating units not declared under commercial operation. In case of a change in IC during the concerned period, its average value shall be taken.

- Energy Charge:

The energy charge shall cover the primary fuel cost and shall be payable by every beneficiary for the total energy scheduled to be supplied to such beneficiary during the calendar month on ex-power plant basis, at the energy charge rate of the month (with fuel price adjustment). Total Energy charge payable to the generating company for a month shall be:

= (Energy charge rate in Rs./kWh) x {Scheduled energy (ex-bus) for the month in kWh.}

Energy charge rate (ECR) in Rupees per kWh on ex-power plant basis shall be determined to three decimal places in accordance with the following formulae:

(i) For coal based and lignite fired stations

ECR = {(GHR – SFC x CVSF) x LPPF/CVPF + LC x LPL} x 100/(100 – AUX)

(ii) For gas and liquid fuel based stations

ECR = GHR x LPPF x 100 / {CVPF x (100 – AUX)}

Where,

AUX = Normative auxiliary energy consumption in percentage.

CVPF = Gross calorific value of primary fuel as fired, in kCal per kg, per litre or per standard cubic metre, as applicable.

CVSF = Calorific value of secondary fuel, in kCal per ml.

ECR = Energy charge rate, in Rupees per kWh sent out.

GHR = Gross station heat rate, in kCal per kWh.

LC = Normative limestone consumption in kg per kWh.

LPL = Weighted average landed price of limestone in Rupees per kg.

LPPF = Weighted average landed price of primary fuel, in Rupees per kg, per litre or per standard cubic metre, as applicable, during the month.

SFC = Specific fuel oil consumption, in ml per kWh.”

The capacity charge & energy charge is required to be calculated in accordance with the above provisions and billed monthly. The tariff  based on the approved Annual Fixed Charges & technical parameters is provided in the subsequent para. However, actual billing shall be based on the actual financial & technical parameters and in accordance with the above Regulation.

- Approved Fixed and Variable Charges:

The petitioner has proposed to implement the 2x30 MW thermal power project in two phases. In the first phase unit-I i.e. 30 MW is proposed to be commissioned and the unit-II i.e. remaining 30MW would be commissioned in the second phase. The fixed and variable charges for both Units (2x30)MW shall be as under:

| Fixed & Variable Charges (2x30MW) |
| --- |
| Particulars | Amount (`. Crore) |
| Fixed Charges |  |
| Interest on Term Loans | 24.41 |
| Int. on Working Capital | 1.05 |
| Depreciation | 20.54 |
| Return on Equity | 18.22 |
| O&M Expenses | 17.10 |
| Total Fixed Charges | 81.32 |
| Variable Charges |  |
| Fuel Cost | 127.61 |
| Secondary Fuel Charges | 0.12 |
| Total Variable Charges | 127.73 |

| Capacity & Energy Charges (2x30MW) |
| --- |
| Net saleable energy ( MUs) | 444.82 |
| Monthly Capacity Charges ( Crs) | 6.78 |
| Capacity Charges ( `./kwh ) | 1.83 |
| Energy Charges ( `./kwh ) | 2.87 |
| Total Charges ( `./kwh ) | 4.70 |

- DIRECTIVES:

Directive 1. Review of final Tariff:

The Project Developer is directed to submit the Actual Capital Cost duly Audited and Cerified by the statutory authority from the date of commercial operation as prescribed under MYT Regulation for determination of the Final Tariff.

Directive 2. Loan Agreements:

The Project Developer has projected interest rate on working capital at 13% but has not provided any loan agreements/communication from any nationalized bank/financial institution in this regard. Therefore, the Project Developer is directed to submit the agreement between the parties.

Directive 3. Fuel Purchase Agreement:

No Fuel Supply Agreement has been submitted by the Project Developer in support of the fuel availability and proposed cost. Therefore, the Project Developer is directed to submit the Fuel Supply Agreement to ensure reliable supply of fuel for the plant.

Sd/-

W. Y. YANTHAN

Secretary,

Nagaland Electricity Regulatory

Commission (NERC), Kohima.